## Sheet1
LESSON PLAN (Winter-2025)
Discipline: Electrical & Electronics Engineering | Semester: 3rd | Name of the Teaching Faculty: Mr.Rajeev Ranjan Seth, Sr. Lect.
Subject: EMI (TH-4) | No of Days /per week class allotted: 5 | Semester From date: 14.07.2025 To 15.11.2025 No of Weeks:19
Week | Class Day | Theory Topics
1st | 1 | Qualities of Measurement 1.1 Discuss the Static Characteristics
| 2 | 1.2 Accuracy, sensitivity, reproducibility and static error of instruments
| 3 | 1.3 Dynamic characteristics and speed of instruments.
2nd | 1 | 1-4 Errors of an instrument
| 2 | Indicating Instruments 2.1 Introduction 2.2 Types of Indicating Instruments 2.3 Basic operating principle of Indicating Instruments
| 3 | 2.4 Working principle of permanent magnetic moving coil Instruments 2.5 Working principle of Moving Iron Instrument
3rd | 1 | 2.6 Basic principle of operation of DC Ammeter and Multi range Ammeter 2.7 Basic principle of operation of AC Ammeter and Multi range Ammeter
| 2 | 2.8 Basic principle of operation of DC Voltmeter and its applications 2.9 Basic principle of operation of AC Voltmeter and its application
| 3 | 2.9 Basic principle of operation of AC Voltmeter and its application
4th | 1 | 2.10 Basic principle of Ohm Meter (Series & Shunt type) 2.11 Basic principle of Analog Multimeter and its types & applications
| 2 | 2.12 Operation of Q meter and its essentials
| 3 | Digital Instruments 3.1 Principle of operation of Ramp type Digital Voltmeter & applications
5th | 1 | 3.2 Operation of display of Digital Multimeter & Resolution and Sensitivity
| 2 | 3.3 Basic Operating principle of Digital Multimeter, its types & applications
| 3 | 3.4 Basic Operating principle of Digital Frequency Meter
6th | 1 | 3.5 Digital Measurement of Time
| 2 | 3.6 Measurement of Frequency
| 3 | 3.7 Operating principle of Digital Tachometer
7th | 1 | 3.8 LCR meter & its working principle
| 2 | Oscilloscope 4.1 Basic Operating principle of Oscilloscope & its Block Diagram
| 3 | 4.2 Basic Operating principle of Dual Trace Oscilloscope & its specification
8th | 1 | 4.3 CRO Measurements
| 2 | 4.4 Lissajous figures
| 3 | 4.4 Applications of Oscilloscope in measurement of Voltage and frequency
9th | 1 | 4.5 Basic Operating principle of Digital Storage Oscilloscope
| 2 | continued.
| 3 | 4.6 Basic Operating principle of High frequency Oscilloscope
10th | 1 | Bridges 5.1 Types of Bridges (DC & AC Bridges)
| 2 | 5.2 DC Bridges (Measurement of Resistance by Wheatstone’s Bridge)
| 3 | 5.3 AC bridges (Measurement of inductance by Maxwell’s Bridge & Hay’s Bridge)
11th | 1 | 5.4 Measurement of capacitance by Schering’s Bridge & DeSauty Bridge
| 2 | 5.5 Working principle of Q meter its circuit diagram & measurement of Low impedance
| 3 | 5.6 Measurement of frequency 5.7 LCR Meter & its measurements.
12th | 1 | PUJA HOLIDAY
2
3
13th | 1 | Transducers & Sensors 6.1 Define Transducer and Sensor
| 2 | 6.2 Type of Transducer6.3 Parameters and advantages of Transducer
| 3 | 6.3 Parameters and advantages of Transducer 6.4 Working principle of Strain Gauges,
14th | 1 | 6.5 Define Strain Gauge (No mathematical Derivation) 6.6 Working principle of LVDT
| 2 | 6.7 Working principle of capacitive transducers (pressure) 6.8 Working principle of Load Cell (Pressure Cell)
| 3 | 6.9 Working principle of Temperature Transducer (RTD, Optical Pyrometer, Thermocouple, and Thermister)
15th | 1 | 6.10 Working principle of Current transducer. 6.11 Working principle of Proximity & Light sensors.
| 2 | Signal Generator, Wave Analyser & DAS 7.1 General aspect & classification of Signal generators
| 3 | 7.2 Working principle of AF Sine and Square wave generator
16th | 1 | continued.
| 2 | 7.3 Working principle of the Function Generator
| 3 | continued.
17th | 1 | 7.4 Function of basic Wave Analyser and Spectrum Analyser
| 2 | 7.5 Basic concept of Data Acquisition System (DAS)
| 3 | revision
18th | 1 | revision
| 2 | revision
| 3 | revision
19th | 1 | revision
| 2 | revision
| 3 | revision